**GVSU RFP #222-26 Video Scoreboard for Kelly Family Sports Center  
Site Visit Notes 01-24-22**

Board dimensions must be within 1to 2 inches of the specification due to beam locations and size of protective netting.  
  
Board is outdoor rated due to high temperature and humidity inside the Kelly Family Sports Center.  
  
Board is used for slide show, regular graphics and FinishLynx data. Do not need replay capability or cameras. Need ability to show live feeds. We use pre-recorded content and connect into existing sound system.

There is a very large overhead door next to the board for equipment access. Turf protection is probably not needed as it is far enough from the board.  
  
Electrical upgrade for the new board is being handled in-house by GVSU. Power supply will be at the board itself.

GVSU wants any unneeded existing wiring in conduits removed. Can keep data cables if still in good condition.

The control room is on the upper level on the other side of the building from the board.   
Cabling is in room directly underneath the control room. Cabling to board goes underneath the running track.

Training expectations: Half to full day with Brent Tavis and content creation staff. Accessible for questions.

**Grand Valley State University RFP #222-26   
Video Scoreboard for Kelly Family Sport Center  
Pre-Bid Site Visit Mon Jan 24, 2022 at 1:00 pm**

**Name Company Email (optional)  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  
  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  
  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  
  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  
  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  
  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_  
  
\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_**